## Sheet1
| 10 cm cell in 90% acetone |  |  |  |  | Baseline corrected and corrected to 1 cm pathlength |  |  | Jeffrey and Humphrey's Trichromatic EPA methods | Chazaux, Schiphorst, Lazzari and Caffarri 2022 doi: 10.1111/tpj.15643 | Jeffrey and Humphrey's Trichromatic EPA methods | Chazaux, Schiphorst, Lazzari and Caffarri 2022 doi: 10.1111/tpj.15643 | JGOFS | Jeffrey and Humphrey's Trichromatic EPA methods | Chazaux, Schiphorst, Lazzari and Caffarri 2022 doi: 10.1111/tpj.15643 | JGOFS
| 750nm | 664nm | 647nm | 630nm |  | 664nm (corr) | 647nm(corr) | 630nm(corr) | Chl a mg/L |  | Chl a µg/L |  |  | Average conc. µg/L
| -0.0015 | -0.0016 | -0.0015 | -0.0015 |  | -1e-05 | 0 | 0 | 0.0001185 | -0.0001218 | 0.1185 | -0.1218 | -0.11406
1 | 0.0007 | 0.3267 | 0.1428 | 0.0661 |  | 0.0326 | 0.01421 | 0.00654 | 0.36495 | 0.35955 | 364.9498 | 359.5536 | 371.849
2 | 0.0029 | 0.3297 | 0.1459 | 0.0688 |  | 0.03268 | 0.0143 | 0.00659 | 0.36576 | 0.36029 | 365.7632 | 360.2904 | 372.7615
3 | 0.0032 | 0.33 | 0.1461 | 0.069 |  | 0.03268 | 0.01429 | 0.00658 | 0.36578 | 0.36032 | 365.7778 | 360.3168 | 372.7615
[11 empty] | 365.4969 | 360.0536 | 372.4573
366.0026
JGOFS | extinction coefficient for chl a in 90% acetone at 664 nm
(87.67 L g-1 cm-1 )
l = cuvette path length (cm)
Stock solution conc (ug/l)
Intermediate | 366
| Spiking solution to add (mL) | Spike | Final Concentration | Volume 90% (mL) | Final Volume (mL) | Volume after prep (mL)
CS5 | 5.4645 | Intermediate | 100 ug/L | 14.5355 | 20 | 10
CS4 | 10 | CS5 | 50 ug/L | 10 | 20 | 12
CS3 | 8 | CS4 | 20 ug/L | 12 | 20 | 10
CS2 | 10 | CS3 | 10 ug/L | 10 | 20 | 10
CS1 | 10 | CS2 | 5 ug/L | 10 | 20 | 20