## Sheet1
| 10 cm cell in 90% acetone |  |  |  |  | Baseline corrected and corrected to 1 cm pathlength |  |  | Jeffrey and Humphrey's Trichromatic EPA methods | Chazaux, Schiphorst, Lazzari and Caffarri 2022 doi: 10.1111/tpj.15643 | Jeffrey and Humphrey's Trichromatic EPA methods | Chazaux, Schiphorst, Lazzari and Caffarri 2022 doi: 10.1111/tpj.15643 | JGOFS | Jeffrey and Humphrey's Trichromatic EPA methods | Chazaux, Schiphorst, Lazzari and Caffarri 2022 doi: 10.1111/tpj.15643 | JGOFS
| 750nm | 664nm | 647nm | 630nm |  | 664nm (corr) | 647nm(corr) | 630nm(corr) | Chl a mg/L |  | Chl a µg/L |  |  | Average conc. µg/L
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 0.0038 | 0.0519 | 0.0192 | 0.0125 |  | 0.00481 | 0.00154 | 0.00087 | 0.054697 | 0.05452 | 54.6965 | 54.5202 | 54.8648
2 | 0.0142 | 0.3234 | 0.1544 | 0.00809 |  | 0.03092 | 0.01402 | -0.000611 | 0.34486 | 0.33959 | 344.8601 | 339.5928 | 352.6862
3 | 0.0142 | 0.3228 | 0.1539 | 0.00804 |  | 0.03086 | 0.01397 | -0.000616 | 0.34423 | 0.33899 | 344.2265 | 338.994 | 352.0018
| 0.010733 | 0.2327 | 0.10917 | 0.0095433 |  | 0.022197 | 0.0098433 | -0.000119 | 0.24788 | 0.24437 | 247.8813 | 244.369 | 253.1843
JGOFS | extinction coefficient for chl a in 90% acetone at 664 nm
(87.67 L g-1 cm-1 )
l = cuvette path length (cm)
Stock solution conc (ug/l)
Intermediate | 352.5
| Spiking solution to add (mL) | Spike | Final Concentration | Volume 90% (mL) | Final Volume (mL) | Volume after prep (mL)
CS5 | 5.6738 | Intermediate | 100 ug/L | 24.3262 | 30 | 20
CS4 | 10 | CS5 | 50 ug/L | 10 | 20 | 12
CS3 | 8 | CS4 | 20 ug/L | 12 | 20 | 10
CS2 | 10 | CS3 | 10 ug/L | 10 | 20 | 10
CS1 | 10 | CS2 | 5 ug/L | 10 | 20 | 20